## Info
Mapping of Space Agency Contributions
The Ocean Color Radiometry - Virtual Constellation (OCR-VC) developed in the context of the Committee on Earth Observation Satellites (CEOS), aims at producing sustained data records of well calibrated and validated satellite ocean color radiometry to assess the impact of climatic changes on coastal and open sea waters. Within this framework, the International Network for Sensor Inter-comparison and Uncertainty Assessment for Ocean Color Radiometry (INSITU-OCR) initiative aims at integrating and rationalizing inter-agency efforts on satellite sensor inter-comparisons and uncertainty assessment for remote sensing products with particular emphasis on requirements addressing the generation of Ocean Color Essential Climate Variables (ECV) as proposed by the Global Climate Observing System (GCOS). Under the guidance of the International Ocean Color Coordinating Group (IOCCG), representatives of Space Agencies and Institutions supporting INSITU-OCR agreed on a series of recommendations on activities critical to ensure high accuracy and consistency among products from present and future ocean color missions. Those recommendations were consolidated and call for thoughtful consideration by Space Agencies contributing to OCR-VC in view of achieving the final goal of developing consistent long-term Climate Data Records. Key recommendations address: i. space sensor radiometric calibration, characterization and temporal stability; (Green shading) ii. development and assessment of satellite products (Orange shading) iii. in situ data generation and handling; (Blue shading) iv. information management and support. (Pink shading)
The range and complexity of the activities required to thoroughly address the proposed recommendations cannot be supported by a single Agency. Thus, an efficient contribution to OCR-VC would suggest sharing activities and responsibilities among Agencies. This entails that Space Agencies:
i. Clearly identify those actions they want to address and/or support (i.e., software developments, measurement facilities, …);
ii. Establish an efficient co-ordination of inter-Agency contributions.
The following tables on the next tab, listing INSITU-OCR recommendations organized by topic, are intended to help Agencies in mapping ongoing and planned activities contributing to INSITU-OCR.

## Recommendations
INSITU-OCR Recommendations by Topic
Space Sensor Radiometric Calibration, Characterization and Temporal Stability |  | JAXA |  | ESA |  | NASA |  | CSIRO |  | KIOST |  | NOAA
Recommendation | Description | JAXA: New inter-agency activities | JAXA: In kind contribution based on existing activities | ESA: New inter-agency activities (Funding Pending) | ESA: In kind contribution based on existing activities | New inter-agency activities | In kind contribution based on existing activities | New inter-agency activities | In kind contribution based on existing activities | New inter-agency activities | In kind contribution based on existing activities | New inter-agency activities | In kind contribution based on existing activities
R1.1: Comprehensive pre-launch instrument calibration and characterization | All satellite ocean color sensors should undergo a comprehensive pre-launch instrument calibration and characterization traceable to SI standards. |  | Pre-flight calibration our sensors by using integration spheres calibrated by a fixed-point blackbody furnace which was traced to SI standard |  | Compliant for S-3 OLCI | Anticipated that new a thorough pre-launch instrument characterization and calibration will be done for PACE. | Already done for historical and operating missions (e.g., SeaWiFS, MODIS). |  |  | - | Already done for GOCI |  | Yes, "goal" under JPSS L1RD Supplement Flight Performance Requirements, General, Sensor Characterization and Monitoring 7.1.1 . L1RDS-11 "The spatial and radiometric performance of the JPSS instruments shall be characterized and documented prior to launch. The goal is to achieve the quality necessary to maintain National Institute of Standards Technology (NIST) traceability where possible."
R1.2: Open access to calibration and characterization data | Space Agencies should provide open access to the comprehensive pre- and post-launch instrument calibration and characterization data for all ocean color sensors. | Use CEOS/WGCV/IVOS framework and IOCCG/Cal task force? | Open data and information in the satellite mission web page |  | S-3 OLCI partially compliant. Determine exactly what is needed. - IOCCG should establish minimum set of information required. | Anticipated that open access to calibration and characterization will be done for PACE. | Already done for historical and operating missions (e.g., SeaWiFS, MODIS). |  |  | - | "Comprehensive" pre- and post-launch instrument calibration and characterization data for GOCI was already presented and published. The level of "comprehensive" calibration and characterization data should be discussed. |  | Yes, documented in JPSS Level 1 Req. Doc. Supplemental
R1.3: Permanent working group on satellite sensor calibration | Experts from ocean color mission calibration teams should meet regularly to review calibration and characterization methodologies and results, cross-calibration studies, and address instrument issues affecting data quality. | If the regular (e.g., yearly) meeting turns at countries, we will host it sometimes. | Hardware members attend international confereces (IGARSS, SPIE..) and present the status and results | Recommended through CEOS/WGCV | ESA sensor calibration through CEOS WG CalVal. Ocean Colour vicarious adjustment through IOCCG WG on vicarious calibration. | Will contribute a physical/virtual attendee to this effort. |  |  |  | KIOST is willing to support to organize the permanent working group on satellite sensor calibration. | For instrument calibration, KIOST has attended at IOCCG CAL/VAL Meeting, instrument calibration session in IOCS meeting as well as SPIE and IGARSS conference to present GOCI calibration and characterization status and results. |  | Yes, the ocean color EDR (L1B to L2 and L3) team communicates regularly with the SDR (L0 to L1B) team, flight team and program level management to cross check and evaluate calibration and characterization issues and then implement corrections as necessary to insure optimum data quality.
R1.4: Vicarious calibration | Maintain at least one long-term vicarious calibration site with SI traceable radiometry pursuing the objective of producing and delivering highly accurate measurements collected under ideal measurement condition (e.g., spatial homogeneity, known aerosol and marine optical properties) in a region representative of global ocean observations. Multiple sites are encouraged, but their equivalence in performance is fundamental. It is essential that a rigorous metrology be established at each measurement site in view of assuring measurement traceability. Because of this, inter-comparisons of each relevant component of the vicarious calibration process should be encouraged and differences thoroughly investigated. Within such a context the adoption of a commonly agreed vicarious calibration approach, supported by sharing of processing modules, would enhance inter-mission consistency of radiometric products. |  | Currently optical measurements on ships are planned. (We still cannot find potential sites for AERONET-OC type sites in our country.) | Recommended through IOCCG WG | ESA to continue partial funding of Boussole through launch of Sentinel-3. ESA is seeking long-term solution through European mechanisms, i.e. EC H2020 or the ESA led interagency Cal/Val Infrastructure WG. Note: there are ongoing ESA activities on OC measurement best practices and SI traceability for calibration of instrumentation. | Anticipated that a competition for a system vicarious calibration will be done for PACE (circa 2017). Also anticipate that data sharing will take place. | Instrument development and risk reduction in support of new system vicarious calibration approaches currently underway for three projects as of August 2014 ($10M US/2014-2017); past support from 1995-2007 for MOBY/MOCE; new optical sensor development 2003-2014 |  | CSIRO is scoping the feasibility of expanding on existing investments to provide a southern hemisphere blue water vicarious calibration site, together with other Australian organisations. | Anticipated that a system vicarious calibration will be done for GOCI-II. Also in-situ data will be shared after quality checking. | An ideal calibration site is difficult to set up and maintain within GOCI target area. Currently optical measurements on ships are conducted. KIOST is planning to use AERONET-OC site at IEODO station for long-term vicarious calibration. |  | NOAA supports MOBY (Hawaii, NIST SI traceable spectral radiances and irradiances) for in-water observations which are made available to the general public through NOAA's Coastwatch program. In addition, the JPSS program contributes to the funding of 3 of US AERONET-OC sites for monitoring and validation: USC (California coast), CSI (Gulf of Mexico) and LISCO (Long Island Sound) for above water measurements.
R1.5: Support for calibration teams | Consider that a fundamental requirement for the OCR-VC is to maintain support for the calibration team throughout the life of the mission. As the expertise required for this effort is highly specialized, the calibration teams should be considered associated with the measurements and not to any specific mission. Such a measurement-based approach will ensure the expertise required will span multiple missions, providing a necessary continuity and transfer of knowledge. |  | JAXA has a small new-sensor development group who has calibration facility. Vicarious calibration activity is maintained by a science application group. |  | For all S-3 instruments, activity on calibration is throughout the mission lifetime (i.e. Sentinel 3 Mission Performance Center activities to start Q3 2014). Further activities on calibration are foreseen through the ESA QA4EO funding frame. | Will contribute support for calibration teams during PACE timeframe; personnel could be available to serve as an international ocean color satellite calibration team member. | Currently supporting calibration teams and functions under MODIS and Suomi NPP Science Teams, could contribute a person (virtual/physical) to liaise with an international team. |  |  | - | Satellite instrument planning and development team under KOSC(Korea Ocean Satellite Center) in KIOST is workling for the pre- and post-launch calibration as well as satellite sensor development. This planning and development team also has a capability of on-ground sensor calibration for in-situ measurements. calibration team and functions through GOCI International Cal/Val Meeting. |  | NOAA recognizes that highly specialized efforts and talents are required of calibration teams in order to produce high quality ocean color EDR (L2) and L3 products. Going forward, the JPSS program will emphasize a measurement-based calibration approach (for S-NPP, J-1 and J-2) consistent with the need for continuity of products.
R1.6: Assess and correct for instrument degradation | All ocean color missions should have at least one suitable system to monitor the temporal degradation and episodic changes in sensitivity of the instrument (Yoder et al. 2011, McClain et al. 2012). Additionally, Space Agencies should commit to supporting continuous assessment and correction for temporal changes in instrument radiometric performance, and to quantifying uncertainty in the temporal calibration. |  | SGLI has solar-diffuser with monthly moon calibration |  | As per R1.5. | Anticipated that this will be done for PACE mission (LRD 2020). | Already done for MODIS and Suomi NPP VIIRS. |  |  | As a complementary method, lunar calibration is developing for GOCI-II. | Already done for GOCI which equips solar diffuser(SD) to monitor the sensor degradation, and diffuser aging monitoring device(DAMD) to correct the aging of solar diffuser. |  | Yes, routine solar (once per orbit) and lunar (once per month) calibrations are performed and analyzed for this purpose (S-NPP) and will be continued on J-1 and J-2. In addition, routine in situ measurements from MOBY and AERONET-OC can be used for monitoring sensor performance.
Development and Assessment of Satellite Products |  | JAXA |  | ESA |  | NASA |  | CSIRO |  | KIOST |  | NOAA
Recommendation | Description | JAXA: New inter-agency activities | JAXA: In kind contribution based on existing activities | ESA: New inter-agency activities (Funding Pending) | ESA: In kind contribution based on existing activities | New inter-agency activities | In kind contribution based on existing activities | New inter-agency activities | In kind contribution based on existing activities | New inter-agency activities | In kind contribution based on existing activities | New inter-agency activities | In kind contribution based on existing activities
R2.1: Distribution of calibrated and uncalibrated data | In addition to distribution of calibrated data (i.e., Level 1B), the Space Agencies should promote the distribution of uncalibrated data (e.g., Level-0 or Level-1A) and the sharing of tools necessary to apply the calibration and characterization information. |  | ATBD of Level-1 will be open but the operational software will be limited within specific organizations who have an agreement. |  | Copernicus (Sentinel) data policy on Level 0 data is still under discussion. | Anticipated that this will be done for PACE data. | Already done for historical and operating missions (e.g., SeaWiFS, MODIS), etc. |  |  | similar with GOCI for GOCI-II. | According the contract with MOF, KIOST only have distributed the calibrated data. |  | For VIIRS S-NPP ocean color sensor, NOAA/CLASS distributes basic RDR (L0). NOAA/NCDC puts out a "Climate Raw Data Record (C-RDR)" which is fundamentally "unpacked" L0 data. RDR (or Level-0) to SDR (or Level-1B) data processing package is available to the public (as well as on-orbit calibration data). Thus, users can produce VIIRS SDR from RDR.
R2.2: Permanent working groups on algorithm topics | Space Agencies should support international working groups on OCR related algorithms and associated uncertainties, to achieve consensus on the most effective and consistent approach for multi-mission satellite application. |  | We are supporting IOCCG | Yes, through IOCCG/INSITU-OCR | ESA has numerous programs and activities including the CCI, mission Quality WGs, QA4EO studies, etc. | Can send a person (virtual/physical) to liaise with an international group, as needed. | NASA already contributes to algorithm uncertainties, as is currently being done for PACE Science Team (IOPs and Atmospheric Correction). IOCCG protocol working groups addressing some of this, not algorithm exactly algorithm topics, per se. |  |  |  | Considering GOCI target area, KIOST is currently operating a regional working group specified for GOCI. |  | Yes, NOAA actively participates in and provides support to international algorithm working groups (IOCCG for example).
R2.3: Product uncertainties | Space Agencies should enforce quantification of uncertainties on a pixel-by-pixel basis in satellite OCR and derived products. |  | Uncertainties will be considered in cal/val activities. Flags to calculate the uncertainty will be stored in the products. | Yes, through IOCCG/INSITU-OCR | Is included in the MERIS 4th reprocessing (to be released prior to S-3 launch). S-3 OLCI uncertainties will be included in the Level 1 and Level 2 products. ESA CCI follows similar approach. | Anticipated that data product uncertainties will be estimated for PACE data products (beginning in 2014 with IOPs and Atmospheric Correction on recently selected PACE Science Team). | Cansend a person (virtual/physical) to liaise with international groups if need be, not currently being done for operating missions. |  |  | Anticipated that data product uncertainties will be estimated for GOCI-II data products. | Overall uncertainties are estimated for GOCI products, but per-pixel uncetainties are not provided. |  | Quantifying uncertainties is primary among the tasks of the JPSS-VIIRS Ocean Color Cal/Val team (includes NOAA/STAR, other US agencies, academic collaborators, and a representative from National Institute of Standards and Technology (NIST). NOAA maintains a website for quality monitoring of SNPP-VIIRS. (http://www.star.nesdis.noaa.gov/sod/mecb/color/validation/). Pixel by pixel uncertainty products are planned.
R2.4: Regional bio-optical algorithms | Programs for the development of regional bio-optical algorithms should be promoted with emphasis on the definition of uncertainties and inter-regional merging of products. When existing data sets would not suit the purpose, new field programs should also be enforced for generating the required measurements. |  | We are trying to collect IOP around Japan. |  | Addressed in various ESA programs, such as SEOM (Scientific Exploitation of Operational Missions) , STSE (Support To Science Element). | Can be promoted in the future via research program elements within NASA research solicitations (opportunity can be mission related or research related). | Currently the opportunity to propose or develop new ideas is promoted in research program elements, although uncertainty estimates are required, deliery of this information is difficult to enforce. We can coordinate with other agencies on field activities. |  | CSIRO regional bio-optical algorithm development activities and field programs. | Regional and full-disk algorithms will be developed for GOCI-II. | Regional algorithms have been developed for GOCI area. In-situ data around Korean peninsula has been collected for products development. |  | Yes, NOAA participates in and helps to support regional algorithm working groups and regional field campaigns. NESDIS/STAR/SOCD has regular observations on the Chesapeake Bay and is leading a NOAA cruise for VIIRS cal/val observations. Dedicated cal/val cruises are anticipated yearly. Ongoing collaborations with other NOAA line office field programs are also being put in place to enable in situ optical observations. External collaborators in the ocean color cal/val team are also supported through the JPSS program to make in situ observations for validation purposes. These datasets will be available for algorithm development. Uncertainty characterizations of optical observations will be addressed during the dedicated cal/val cruises and through intercalibration exercises at our newly established ocean optics laboratory which has NIST traceable instrumentation (calibration lamps).
R2.5: Open access to source codes for processing algorithms | Space Agencies should offer the ability to process the data from their respective missions through a common set of algorithms and to make the source code for those algorithms open and available for review and implementation by others. |  | We are starting to discuss collaboration on the SeaDAS, e.g., inclusion of the SGLI algorithm as a option. |  | This is an ESA objective for S-3 (similar approach as with ODESA for MERIS). It is not in the current plans for the Ground Segment Instrument Processing Facility (IPF). All ATBDs and Detailed Processing Models (DPMs) freely available. For ECVs in the frame of OC CCI both source code, documentation and ECV products available on-line. | Anticipated that this will be done for PACE. | Currently done for historical and operating missions (e.g., SeaWiFS, MODIS). |  |  | To be determined. | We are starting to discuss collaboration on the SeaDAS. |  | Yes, NOAA is consolidating ocean color products to a common set of algorithms (MSL12). This algorithm has been developed to work with a variety of ocean color sensors using a common ocean color data processing system. The basic algorithm grew from earlier versions. Its development has been documented in peer-reviewed publications. As soon as the code has been successfully implemented at NOAA, it will be made open and available to others.
R2.6: Long-term field measurement programs | Long-term measurement programs should be established and maintained beyond any individual mission relying on consolidated instruments, calibration methods and measurement protocols. In situ data designated to support satellite ocean color validation programs should be globally and seasonally distributed, and cover a broad range of water types including areas exhibiting different trophic levels as well as waters dominated by colored dissolved organic matter or sediments. |  | We are trying to collect IOP mainly around Japan. We hope they will be one of the global coverage of the measurements. | Coordination through IOCCG/INSITU-OCR | ESA is in the process of implementing this. Note: Data Policies for in-situ data need to be reviewed. ESA does not own the full IPR on the in-situ data since the measurement programs are only partially funded by ESA. | Currently NASA is planning large field campaigns in the North and Subpolar Atlantic (possible 2017 field season), coastal Arctic and Southern Ocean (possible 2018-2020 field seasons). Can discuss collaboration, but also NASA can promote long term field measurements in the future via research program elements (some mission related). | Currently promoted in NASA research program elements. Long-term time series support remains a challenge (BBOP, Plumes and Blooms, HOT, etc.), but is maintained. Currently planning field efforts and scoping studies and collaboration can be discussed. |  | CSIRO operates the Lucinda Jetty Coastal Observatory time series for validation of coastal ocean colour products and a bio-optical measurement facility as part of the Australian Integrated Marine Observing System | We plan to undertake annual campaigns for GOCI-II. | We have performed GOCI annual Cal/val campaign for past 4 years. |  | NOAA helps to support field calibration and validation measurements. Several long-term calibration and validation sites are maintained in coastal US waters: MOBY (Hawaii) for in-water measurements (primairly for vicarious calibration); AERONET-OC for above water measurements (mainly for validation). The JPSS program contributes to the funding of 3 of the AERONET-OC sites: USC (California coast), CSI (Gulf of Mexico) and LISCO (Long Island Sound). Our first dedicated VIIRS Cal/Val cruise will take place in November 2014. Dedicated cal/val cruises are anticipated annually and are expected to target various water types. An important component of these dedicated cal/val cruises is to evaluate instrumentation and develop best protocols for collecting in situ data for the purpose of satellite ocean color algorithm development.
R2.7: Validation protocols | The definition, implementation and application of common validation protocols should be strongly encouraged. This should translate into the construction of matchups using identical criteria as well as reporting results through identical statistical measures. |  | We will follow the international consensus and attend discussions to prepare additional ones for new measurements. | Yes through IOCCG/INSITU-OCR | ESA is in line with the requirements. | Anticipated that this will be done during PACE era. | Currently done for historical and operating missions (e.g., SeaWiFS, MODIS). |  |  | We will follow the international consensus and attend discussions to prepare additional ones for new measurements. | We have tried to conform to NASA standard validation protocol. |  | The NOAA ocean color algorithm development team uses published (e.g. Wang et al 2009) matchup protocols. There are other published matchup protocols (e.g. Bailey and Werdell, 2006). Generally, these protocols are an evolution of an ideal given the current status of computing resources. Common validation protocols may not always suit every situation. New variations on established approaches will be published with rigorous attention to details so that the process can be reproduced by others.
R2.8: Level-3 data products generation | Space Agencies should produce data sets of global, binned (Level-3) OCR and derived products. The binning strategy and spatial/temporal resolution of these Level-3 ECV data sets should be identical, including the use of a unified naming convention. |  | SGLI Level-3 will be produced by following IOCCG report. | Yes, protocols through IOCCG/INSITU-OCR | Implemented for MERIS. As for OLCI Level 3 will be provided from Copernicus services and/or Eumetsat. | Anticipated that this will be done during PACE era. | Currently done for historical and operating missions (e.g., SeaWiFS, MODIS). |  |  | We will produce Level 3 product considering GOCI-II charactoristics. | We will produce Level 3 (daily, weekly, monthly) products for GOCI observation area. |  | Yes, NOAA has been routinely producing global, binned, L3 VIIRS ocean color products (Daily, 8-day, and monthly) for internal evaluation. These will be released to the public following completion and publication of the VIIRS reprocessing data set. Additionally, near real time distribution of global L3 VIIRS by the CoastWatch/OceanWatch program is expected in the near future.
R2.9: Ancillary data | Space Agencies should agree on the use of a consistent set of ancillary data sources for the production of ECVs from ocean color sensors. In case of differences, the evaluation of their effects in satellite products is highly encouraged. Ancillary data should be provided in specific files independent from satellite data. This latter aspect is relevant to minimize the volume of data to re-distribute in case of any change affecting ancillary data |  | JAXA cannot decide the policy because ancillary data is provided by a different agency (e.g., meteorological agency). However they will be open. | Yes, protocols through IOCCG/INSITU-OCR | ESA agrees with the proposed requirement, but further studies as undertaken in the ESA OC CCI for atmospheric parameters need to be further investigated under the auspices of the IOCCG. | Open to discussion for PACE with future ocean color satellite missions (polar orbiters) as to developmenet of common set of ancillary data to use. | Current and historical sensors may not have had this in common simply due to data availability and overlap in time. Problems in past with re-distributing historical data (e.g., ECMWF). NASA would be happy to contribute to a discussion on deciding a common set of ancillary data that can be shared among missions. Do we need a working group on ancillary data for OC missions? Uncertainties on ancillary sources are critical, too. |  |  | GOCI-II will use the GEMS and AMI installed in GEO-KOMPSAT 2 for ancillary data. | GOCI has used NASA/NOAA ancillary data required for atmospheric correction algorithm. |  | Yes, ancillary data for ocean color are fundamentally operational products for NOAA meterological missions (i.e. NCEP) and are consistent with World Meterological Organization standards and best practices.
In situ Data Generation and Handling |  | JAXA |  | ESA |  | NASA |  | CSIRO |  | KIOST |  | NOAA
Recommendation | Description | JAXA: New inter-agency activities | JAXA: In kind contribution based on existing activities | ESA: New inter-agency activities (Funding Pending) | ESA: In kind contribution based on existing activities | NASA: New inter-agency activities | In kind contribution based on existing activities | New inter-agency activities | In kind contribution based on existing activities | New inter-agency activities | In kind contribution based on existing activities | New inter-agency activities | In kind contribution based on existing activities
R3.1: Improving traceability of in situ measurements | Funding Agencies should enforce common calibration schemes and measurement protocols, and unifying processing schemes and quality assurance criteria to ensure consistency and traceability of in situ measurements to SI standards. Inter-comparison exercises should be considered as the means to enforce traceability by promoting state-of-art on instrument calibration, measurement methods, data processing, and quality assurance. Practical implementation of inter-comparisons may entail a series of round-robins on specific topics together with training opportunities. |  | JAXA calibrate some in-situ instruments by the integration sphere for the satellite sensor development. | Yes through IOCCG/INSITU-OCR | On-going ESA activities in the frame of GEO/CEOS QA4EO. | NASA can partake in a discussion to do this for future missions such as PACE. | NASA not sure we can "enforce" anything, but we can certain work with the other agencies to promote common calibration schemes, protocols (pending revisions or development), etc.; Werdell spinning up a small, focused IOCCG working group to address this. |  |  | KIOST can participate in a discussion to do this for GOCI-II. | KIOST calibrates some in-situ instruments by the integration sphere. KIOST is setting up a facility to calibrate in-situ radiance and irradicance sensors. |  | NOAA has established an ocean optics laboratory with NIST certified illumination sources where multiple instruments can be calibrated against one standard. We adhere to community standards and best practices. We are hosting an inter-calibration excersice for several hyperspectral and multispectral in-water radiometers in Nov. 2014. We are facilitating the common calibration of atmospheric optical instruments at NASA GSFC where an SI traceable protocol is used.
R3.2: Continuous consolidation and update of measurement protocols | Measurement protocols should be consolidated as a result of a critical review and update of those currently documented in peer-review literature or already included in compilations produced by former programs. Consolidated protocols should then be published using modern communication methods. A possibility would be to create “living documents” (e.g. Wiki format, easily accessible and modifiable through continuous community contributions and discussions, but envisaging mechanisms for tracking successive versions). This objective could be initiated through independent and well focused workshops on protocols for the determination of in situ data from: i. water apparent optical properties; ii. water inherent optical properties; iii. water pigments; and iv. atmospheric optical properties. Expertise on standardization quality assurance should be represented in each leading activity. |  | JAXA encourages Japanese community to follow the protocols. Some are prepared in Japanese for broad operators in Japan. | Yes through IOCCG/INSITU-OCR | ESA activities to contribute to IOCCG efforts. IOCCG recommendations to be implemented. | Can contribute virtual/physical personnel/resources to this effort, can host living documents on oceancolor web, etc. | Currently the selected 2014 PACE Science Team is working on this for IOPs and Atmospheric Correction. IOCCG has sponsored two workshops with two more planned (NASA FSG hosted). |  |  | KIOST will encourages Asian community to follow the protocols for GOCI-II. | We agree on this. However, the objective can be reached by international, multi-agency efforts. KIOST encourages Korean community to follow the protocols. |  | Yes, NOAA is beginning to formalize this as ongoing support of "operational" ocean color. One of our primary objectives during our upcoming cal/val cruise is to characterize instrument performance, protocols and methods in light of best community practices. Results will be shared with community in reports, and in peer-reviewed publications as appropriate. A post-cruise laboratory exercise is planned and future community workshops and are being considered.
R3.3: Uncertainty budgets | In situ data should be linked to uncertainty budgets determined in agreement with defined protocols and accounting for a comprehensive range of uncertainty sources. Ideally these uncertainty budgets should include contributions from calibration, processing, deployment restrictions, and environmental conditions. |  | We recognize the importance but don't have good idea to make the method | Yes through IOCCG/INSITU-OCR | As per 3.2. | NASA can partake in a discussion to do this for future missions such as PACE. | NASA is currently working with PIs on uncertainties with data products/algorithms/etc. on sensors and data back to CZCS, but has not had much luck pushing for a full system uncertainty assessment by PIs. Again, difficult to enforce as a requirement for data products. |  |  | KIOST can partake in a discussion to do this for GOCI and GOCI-II. |  | NOAA/JPSS sponsors the VIIRS Ocean Color Cal/Val team consisting of members from other agencies, including Naval Research Laboratory (NRL) and National Institute of Standards and Technology (NIST), and from academia. Team members make and/or use in situ observations to characterize VIIRS performance and uncertainties. The team meets bi-weekly on a teleconference to share and discuss protocols, methods, results etc. This team approach brings a wide range of approaches and features work performed in different regions, in turn, giving a better overall characterization. Results from team members are generally expected to be published in peer-reviewed journals. | Yes, the importance of uncertainty characterization of in situ measurements is recognized and is being addressed through both field and laboratory efforts in adopting or developing standard protocols and best practices.
R3.4: Quality Assurance of in situ data | Define and implement quality assurance schemes for in situ data. These criteria should be specific for the different quantities and should take benefit of ancillary information provided with the data itself (e.g., cloud cover or sea state in the case of radiometric data), empirical thresholds, closure between inherent and apparent optical properties, models estimate. |  | We recognize the importance but don't have good idea to make the method | Yes through IOCCG/INSITU-OCR | As per 3.2 | NASA can partake in a discussion to do this for future missions such as PACE. | Already have a QA/QC process in SeaBASS/NOMAD, although the effort could be expanded via central project office for the INSITU-OCR. NASA could host such a database at GSFC. |  |  | KIOST can partake in a discussion to do this for GOCI and GOCI-II. | KIOST is performing quality assurence for reflectance spectra based on an optical model. KIOST uses at least two methods for chlorophyll, and trying to use turbidity measurements for TSM. |  | Yes, quality assurance definitions and criteria are one of the key objectives of our dedicated cal/val cruises, as well as for all in situ measurements, in particular, for long-term MOBY and AERONET-OC in situ data.
R3.5: Archival of in situ data | Centralized open access data repositories should be established, supported and maintained beyond any individual mission’s life. Repositories should ideally have the capability of indexing data as a function of their fitness for specific applications (e.g., vicarious calibration, bio-optical modeling, and validation). Suitable mechanisms should be put in place to warrant data submission (e.g., requesting timely data delivery for field data produced within the framework of measurement programs funded by Space Agencies, or creating benefits like full processing and quality assurance of submitted data, or, where appropriate, convincingly recommending authors exploiting archived data to contact contributors and offer co-authorship). |  | We encourage relating observation groups to submit data to the existing repositories | Yes through IOCCG/INSITU-OCR | At this time ESA does not have a central repository as of IPR restrictions. | NASA can partake in a discussion to do this for future missions such as PACE. | In situ data are archived in SeaBASS/NOMAD, although this archival effort could be expanded via central office for the INSITU-OCR. NASA could host such an effort at GSFC. |  | CSIRO has designed and implemented open-access databases for bio-optical data. | KIOST has a plan to establish own data repository. |  |  | SOCD/CoastWatch/OceanWatch in situ data repository is being developed in support of JPSS ocean color in situ observations. Our goal is to ensure the SOCD database is complementary with other NOAA, outside agency and other institutional collections. Datasets will be assigned DOI citations so that contributors can easily be credited for their work, thereby motivating and rewarding full participation.
R3.6: Community processor for in situ data | Design, implement and apply community consensus processors for in situ data. This development should proceed through incremental steps, for instance by initially creating open access libraries and requesting manufacturers to adopt common (or user definable) data formats. |  | We will attend to the discussion about the processing. |  | In agreement with requirement and working towards this. | NASA can partake in a discussion to do this for future missions such as PACE and associated in situ data collection. | NASA would be willing to participate in development of a processor for current in situ instruments, but this would have to be done in conjunction with instrument manufacturers. Perhaps we could consider a large software library the community populates and uses. |  |  | KIOST will attend to discussion. |  |  | Yes, SOCD/NOAA is working on a user-accessible ocean optics (and ancillary) in situ data repository. We will adopt as much of the existing protocols as possible, introducing variations or improvements as we find necessary for our purposes.
R3.7: Priority for variables to be collected | A list of variables considered essential for satellite ocean color applications should be defined and considered with high priority by any field program. |  | We will attend to the discussion about the list | Yes through IOCCG/INSITU-OCR | ESA defers to IOCCG. | NASA can partake in a discussion to do this for future missions such as PACE. | NASA hosts approximately annual open opportunities for l data products or ocean color variables to be proposed and supported from current and historical sensors data streams, but could work with international community to prioritize list. |  |  | KIOST will attend to discussion. |  |  | Yes, NOAA satellite ocean color field programs focus on observations required to ensure that the suite of operational products generated are of the highest quality. Minimum requirements have been documented (i.e. IOCCG Report#13). Additional in situ observations that contribute to improved optical characterization of waters are also made in the expectations of improved performance of existing as well as potential development of new ocean color algorithms.
R3.8: General coordination of field campaigns | Establish a coordination mechanism to allow for a continuous exchange of information on forthcoming field activities to create opportunities for collaboration including instrument exchange, field training, inter-comparisons. The coordination should be instrumental in ensuring the collection of prioritized in situ variables meeting the basic needs for satellite ocean color applications. A web page service may efficiently support the activity. |  | We will encourage Japanese observation groups to upload their observation plan to the webpage. | Yes through IOCCG/INSITU-OCR | Agreed. Suggestion: this should be an agenda item on the annual IOCCG meeting. | Can be done at any time for PACE, other missions, or other field campaign planning. | Can be done for current field effort via Field Support Group Can be done at the program manager level for large field campiagns being planned (EXPORTS, Arctic-COLORS, ICESOCC, etc.). |  |  | GOCI annual Cal/Val campaign will be announced. | GOCI annual Cal/Val campaign has been conducted with NASA, LOV and MUMM. | A NOAA-led Cal/Val cruise scheduled in Nov. 2014 includes inter-agency, with NASA Goddard Space Flight Center, Naval Research Center and National Institute for Standards and Technology, and an international collaboration with Institute for Environment and Sustainability, Joint Research Centre, European Commission as well as outside academic principal investigators. Pre and post-cruise laboratory exercises for multiple instrument calibration and comparison will be held at the NOAA ocean optics lab in College Park, MD USA. | A NOAA-led Cal/Val cruise scheduled in Nov. 2014 includes inter-agency (with NASA Goddard Space Flight Center, Naval Research Center and National Institute for Standards and Technology), an international collaboration (with Institute for Environment and Sustainability, Joint Research Centre, European Commission) as well as outside academic principal investigators. Pre and post-cruise laboratory exercises for multiple instrument calibration and comparison will be held at the NOAA ocean optics lab in College Park, MD USA.
Information Management and Support |  | JAXA |  | ESA |  | NASA |  | CSIRO |  | KIOST |  | NOAA
Recommendation | Description | JAXA: New inter-agency activities | JAXA: In kind contribution based on existing activities | ESA: New inter-agency activities (Funding Pending) | ESA: In kind contribution based on existing activities | New inter-agency activities | In kind contribution based on existing activities | New inter-agency activities | In kind contribution based on existing activities | New inter-agency activities | In kind contribution based on existing activities | New inter-agency activities | In kind contribution based on existing activities
R4.1: Accessibility and distribution of large volumes of data | The entire archive of satellite data products should be freely and easily accessible in a timely manner, and Space Agencies should enter into data sharing agreements so that the source data for all missions are provided to their partner Agencies as a means of facilitating inter-mission comparisons, to provide mirror sites for improved user access to the data and to act as a data-loss risk reduction mechanism. The access to data should also include the additional capability of fast extraction and prompt delivery of data products for local areas. |  | GCOM data will be open to public and redistribution is allowed. Mirror sites and extraction need more discussion and official agreements due to the budget. |  | For L1/L2 this is the objective of the Copernicus data policy. Mirror sites are foreseen in the frame of the collaborative GS. | Anticipated that this will occur for PACE. | Already done for historical and operating missions (e.g., SeaWiFS, MODIS), etc. |  |  |  | GOCI data is open to public. Mirror site and fast extraction need more time to implement. | NOAA Coastwatch/Oceanwatch is preparing to provide VIIRS ocean color products to EUMETSAT for their Copernicus Programme requirements. | Yes, we are developing a tiered approach for near term data product storage and accessibility with increasing build out over time to accomodate additional missions. We plan to acquire hardware resources needed to meet IOCCG guidelines for ocean color. In the meantime, NOAA is reviewing and planning for long term agency-wide solutions for data storage and access.
R4.2: Processing capabilities for calibration and validation activities | Establish appropriately scaled processing system architectures and computer infrastructures to support substantial reprocessing for calibration and validation analyses, in addition to operational processing and regular re-processing. It is recommended that the processing system should be able to support reprocessing for calibration and validation studies efficiently from Level-1A (or Level-0) to Level-3 at a rate of at least 5-15% of the global mission per calendar day. |  | We are designed 25% (4-year data in 1-year) due to the budget limitation. |  | ESA agrees to the requirement but not necessarily within existing capabilities of the Ground Segment. | Anticipated that this will occur for PACE. | Already done for historical and operating missions (e.g., SeaWiFS, MODIS), etc. |  |  | Anticipated that this will occur for GOCI and GOCI-II. | KIOST is setting up computer infrastrure for fast reprocessing, which will enable us to process calibration and validation data. |  | Yes, In process of being executed. NOAA has been building the capability for VIIRS mission long ocean color data reprocessing, including reprocessing for Level-0 to Level-1B (RDR to SDR). NOAA VIIRS Ocean Color Team is now ready for carrying out VIIRS mission long data reprocessing (Level-0 to Level-1B to Level-2 and Level-3) when some VIIRS calibration issues are resolved.
R4.3: Accessibility to documentation | A minimum set of documentation on missions/data products should be made available. This should include documentation on the implementation of the instrument characterization and calibration and associated pre- and post-launch data, the relative spectral response functions for the instrument bands, and the derivation and validation of Ocean Color ECV algorithms. These may be best implemented as on-line living documents (e.g., Wiki). |  | ATBD, product description, user guide, sensor guide, and RSR will be open in our mission webpage. |  | OK for MERIS, OLCI and derived Ocean Colour ECVs: Algorithm Theoretical Basis Documents (ATBDs), Detailed Processing Models (DPMs), Product Specification Documents (PSDs), Look-Up Tables (LUTs), spectral response functions. | Anticipated that this will occur for PACE. | Already done for historical and operating missions (e.g., SeaWiFS, MODIS), etc. |  |  | ATBD and GDPS user guide will be open in our webpage. |  |  | NOAA and the JPSS program require extensive documentation and this will be made available to the greatest extent possible. Additionally, documentation is accomplished through peer-reviewed publications in visible and respected organizational reports and scientific journals.
R4.4: Data formats | A common data format should be agreed upon for the storage of the satellite data produced by all Space Agencies. A good example is netCDF with CF compliant metadata. At a minimum, tools should be provided by the Space Agencies to allow users the ability to easily read the files – whatever the format. |  | We will use HDF5 which include netCDF4 libraries. Sinple conversion programs will be open in the webpage. | Yes, through IOCCG/INSITU-OCR | The format of the measurement and annotation data files for S-3 OLCI and SLSTR data will be NetCDF 4. | Can participate in discussion with other agencies under INSITU-OCR about a common data format, NASA moving to netCDF. | Active discussion now; NASA will be doing this shortly; was an IOCS workshop/breakout on topic, most focused on netCDF. NASA moving in this direction. |  |  | To be determined for GOCI-II. | HDF-EOS5 for GOCI. |  | NOAA Ocean Color Group is transitioning to NetCDF which seems to be the convergent format of choice.
R4.5: Support for open source data processing and visualization | Space Agencies should support the development and distribution of open-source data processing and visualization software, including the source code used in the generation of mission Ocean Color ECVs. Additional software tools allowing for remote access and analysis of OCR and derived products are also encouraged. This effort should be considered an essential contribution to ocean color science that transcends any mission lifetime. |  | We are discussing possibility of inclusion of our ocean-color code in the options of SeaDAS. Discussion of similar way to other softwares is welcome. |  | ESA is developing an open-source Sentinel-3 toolbox facilitating the handling, post-processing and scientific analysis of the data products from the OLCI/SLSTR instruments on board Sentinel-3 as well as a range of multi-spectral imaging radiometers (vis/IR) including MERIS, (A)ATSR, SeaWIFS, MODIS, AVHRR, CHRIS, AVNIR-2, AVHRR/3, VIIRS and OCM. The toolbox will also provide processing algorithms used for the generation of bias-corrected and uncertainty characterized multi-sensor Ocean Color ECVs. | Anticipated to be done for PACE (TBD but there should be a processing and visualization module in SeaDAS). | Can be discussed for historical and operating missions. NASA and ESA have done this by working SeaDAS and BEAM together. Could these platforms be expanded to encompass other missions/sensors from agencies? NASA is supported to integrate SGLI and OLCI into SeaDAS (l2gen) |  |  | To be determined for GOCI and GOCI-II. |  |  | At NOAA/Coastwatch/Oceanwatch, a suite of software tools to complement the various data distribution protocols has been developed. Visualization and data tools are maintained and distributed (source code and documentation included) to the public. These tools provide users the ability to readily perform command-line format conversion, mapping, band math, masking, data downloads, etc. In addition to command-line utilities, the visualization and analysis software (CoastWatch Data Analysis Tool) allows users to easily view data, apply custom color scales, RGB compositing, overlays, and masking. The NOAA Ocean Color EDR team is developing a “SeaDAS-like”(IDL-based) image analysis package for the processing, display, analysis, and quality control of ocean color data.